Form 1-2 Operational Checklist:  System evaluation (SE)

(This form is used for identification of the system design flow and to gather the operational checklists needed for conducting an O&M service visit.)

A.  Client Contact Information

Name of owner:		System ref. #:

Site address/County:

Date of last service:

B.  System Documentation  (See Form 1.1 System Description (SD) for complete documentation)

Design flow:  	Gal per day

C.  Operational Checklists (from Form 1.1 System Description (SD) Section C)

Form 4.1 Site Assessment on File.      ( Yes  (  No

Tanks and advanced treatment component operational checklists (Chapters 5, 6 and 7):

( Pump: Demand-Dosed system: 			( Aerobic treatment unit:

( Pump: Timer-Dosed system: 			( Constructed wetland:

( Holding tank: 			( Lagoon:

( Septic/Trash/Processing (tank): 		 	( Disinfection unit –Chlorine:

( Pump tank(s): 			( Disinfection unit –Ultraviolet light:

( Media filter: 			( Disinfection unit –Ozone:

Final treatment and dispersal component operational checklists (Chapter 8):

( Gravity distribution: 			( Drip distribution system:

( Evapotranspiration bed: 			( Spray distribution system:

( Mound system: 			( Discharging systems outfall:

( Bottomless sand filter:			( Bottomless peat filter:

( Low-pressure drainfield:

D.  System Evaluation

1.	O&M service provided on:  	Date:		Time:

2.	Observation and assessment of the site (on lot and in neighborhood)

a.	Evaluate presence of odor within 10 ft of perimeter of system:

( None     ( Mild     ( Strong      ( Chemical     ( Sour

i) 	Source of odor, if present:

b.	Any surfacing or breakouts.	Yes ___ No____

c.	Any construction, utility work, or changes in drainage patterns.	Yes ___ No____

d.	Are all components present and not modified.	Yes ___ No____

e.	Are all lids at grade or on risers present and secure.	Yes ___ No____

f. 	Traffic on onsite wastewater system.		Yes ___ No____

System ref. #:

3.	Estimated system flow:  		___________ gallons per day

Indicate method used for estimate:

( House water meter reading:

This time: 				(gal)  - Last time: 				(gal)	=  Result: _____ gal

Result: 				(gal) / 						days 	= ___________GPD

( Pump tank control meter readings (indicate form used):	PDD: 		 PTD:

( Discharge line meter

( Estimate based on number of occupants:                                      				People

4.	Complete operational checklists for pretreatment components, pumps, pump tanks and controls (Chapters 5, 6 and 7).

5.	Complete operational checklists for final treatment and dispersal components (Chapter 8).

6.	Updates required on Form 1.1 System Description:

7.	Site status at conclusion of O&M service visit:

( Verify that controls are set on the appropriate mode.

( Power is on to all components.

( Revisit all components to verify lids are secure.

( Gather all tools for removal from the site.

( Verify that no sewage is on the ground surface.

( Service notification.

8.	Comments:

9. 	Overall system condition:

( Acceptable                    	( Maintenance needed

( Unacceptable              	( Maintenance performed

( Mitigation required

Company name:

Agreement period from:  			 		to

This report indicates the condition of the above onsite wastewater treatment system at the time of the O&M service visit.  It does not guarantee that it will continue to function satisfactorily.

Signature of service provider:  	Date: